Complete All Sections of this Form

| Confined Space Identification Number: |  |  |  |  |  |  |  | Entry Date: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Location and Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Purpose of Entry: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expected Duration (cannot exceed one 8-hour shift): |  |  |  |  |  | Authorized Duration (no more than one 8-hour shift): |  |  |  |  |  |  |  |  |  |  |
| Person in Charge of Work: |  |  |  |  |  | Entry Supervisor: |  |  |  |  |  |  |  |  |  |  |
| Authorized Entrant (s): |  |  |  |  |  | Attendant (s): |  |  |  |  |  |  |  |  |  |  |
| Preparations and Equipment |  | N/A | Yes | Initials |  | Preparations and Equipment |  |  |  |  |  | N/A |  | Yes |  | Initials |
| Lockout/Tagout |  |  |  |  |  | G.F.C.I. Equipment |  |  |  |  |  |  |  |  |  |  |
| Lines (s) Broken-Capped-Blanked |  |  |  |  |  | Non-sparking Tools |  |  |  |  |  |  |  |  |  |  |
| Purge-Flush and Vent |  |  |  |  |  | Fire Extinguisher |  |  |  |  |  |  |  |  |  |  |
| Ventilation |  |  |  |  |  | Protective clothing |  |  |  |  |  |  |  |  |  |  |
| Secure Area (Post and Flag) |  |  |  |  |  | Lifeline |  |  |  |  |  |  |  |  |  |  |
| Hot Work Permit |  |  |  |  |  | Full-body Harness |  |  |  |  |  |  |  |  |  |  |
| Respiratory Protection |  |  |  |  |  | Tripod/Rescue Equipment |  |  |  |  |  |  |  |  |  |  |
| Air Monitor |  |  |  |  |  | Fall Protection |  |  |  |  |  |  |  |  |  |  |
| Explosion-proof Lighting |  |  |  |  |  | Communications Equipment |  |  |  |  |  |  |  |  |  |  |
| Atmosphere Monitoring |  |  |  | Pre-Entry Test |  |  | During Entry Operations |  |  |  |  |  |  |  |  |  |
| Test(s) to be taken | Acceptable Range |  |  | Time | Reading |  | Time |  | Reading | Time | Reading |  |  | Time |  | Reading |
| Percent of Oxygen ( O2) | 19.5% to 23.5% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lower Explosive Limit ( LEL) | Below 10% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Carbon Monoxide (CO) | Below 35 ppm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hydrogen Sulfide (H2S) | Below 10 ppm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Used: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Remark on the overall condition of the confined space: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Required Pre-Entry Hazard Elimination Measures Taken |  |  |  |  |  |  |  |  |  |  |  |  | Circle One |  |  |  |
| All slip and trip hazards eliminated |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  | N/A |  |
| Atmospheric testing (oxygen, flammable vapors/gases and toxic concentrations) conducted and documented above |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Access opening obstruction hazards eliminated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sharp edges removed or guarded |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Physical barriers or barricades installed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Forced ventilation can eliminate atmospheric hazards |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contents of the space removed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical, utility, and outlet lines isolated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lockout/ Tag-out, and tryout procedures implemented |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Entry Authorization I certify that all existing hazards have been eliminated and all above conditions have been satisfied. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Print Name and Title |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Department and Phone Number Entry Supervisor or Qualified Person Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency Procedures: DO NOT enter the space under any circumstances. Call 911. Remain at work- site until help arrives. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

COPY OF PERMIT MUST REMAIN AT

JOB SITE UNTIL WORK IS COMPLETED